{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":22,"n_cols":12,"rows_kept":22,"merged":[[0,0,0,11]],"flags":["formulas_cached_only"]}
["江西省老视成镜产品质量省级监督抽查产品及企业名单"]
["序号","产品名称","受检单位","标称生产企业","标称生产企业所在省","商标","规格型号","产品等级","生产日期/批号","抽查结果","主要不合格项目","承检机构"]
[1,"老视成镜","南昌象岛眼镜有限公司","上海舒亮光学眼镜有限公司","上海市","/","R:+3.50DS  L:+3.50DS  OCD:63mm","合格品","2022年12月//","合格","/","江西省检验检测认证总院工业产品检验检测院"]
[2,"老视成镜","乐平市大光明眼镜店壹分店","温州市瑞星光学眼镜有限公司","浙江省","向阳红","R:+1.50DS  L:+1.50DS  OCD:63mm","合格品","2021-06-02/XYH20210602","合格","/","江西省检验检测认证总院工业产品检验检测院"]
[3,"老视成镜","龙南县大尤明眼镜行","台州市明博光学眼镜有限公司","浙江省","/","R:+2.00DS  L:+2.00DS  OCD:64mm","合格品","2021.05.17//","合格","/","江西省检验检测认证总院工业产品检验检测院"]
[4,"老视成镜","永丰县恩江镇亮点眼镜店","温州瓯海郭溪高光眼镜厂","浙江省","/","R:+2.00DS L:+2.00DS OCD:63mm","合格品","2022.07.08/20220708","合格","/","江西省检验检测认证总院工业产品检验检测院"]
[5,"老视成镜","鹰潭市世宏光学有限公司","鹰潭市世宏光学有限公司","江西省","自然红","R:+2.00DS  L:+2.00DS   OCD:62mm","合格品","2022-06-18/20220618","合格","/","江西省检验检测认证总院工业产品检验检测院"]
[6,"老视成镜","弋阳县博光眼镜零售店","江苏汇鼎光学眼镜有限公司","江苏省","岁岁安","R:+1.50DS  L:+1.50DS  OCD:（62±2）mm","合格品","//200801","合格","/","江西省检验检测认证总院工业产品检验检测院"]
[7,"老视成镜","袁州区城西刘建国眼镜店","台州市华星光学有限公司","浙江省","奥尚","R：+1.50    L：+1.50  OCD62mm","合格品","2022-09-11/2022.09.11","合格","/","江西省检验检测认证总院工业产品检验检测院"]
[8,"老视成镜","萍乡经济开发区金三角新萍眼镜店","江苏省丹阳市开发区百年红眼镜厂","江苏省","夕阳伴侣","R：+1.00   L：1.00   OCD63mm","合格品","2018-05///","合格","/","江西省检验检测认证总院工业产品检验检测院"]
[9,"老视成镜","江西洪大眼镜连锁有限公司","丹阳市永红眼镜有限公司","江苏省","世纪芳华","R:+4.00DS  L:+4.00DS OCD:60mm","合格品","///","合格","/","江西省检验检测认证总院工业产品检验检测院"]
[10,"老视成镜","都昌县雪亮眼镜店","瑞安市精丽眼镜有限公司","浙江省","凯奇老人头","R：+2.00 L：+2.00   OCD63mm","合格品","2022-03-09//","合格","/","江西省检验检测认证总院工业产品检验检测院"]
[11,"老视成镜","九江市大明实业有限公司九江市柴桑区分公司","丹阳市开发区百视达眼镜厂","江苏省","奇亮","R：+2.00  L：+2.00 OCD62mm","合格品","2023-06///","合格","/","江西省检验检测认证总院工业产品检验检测院"]
[12,"老视成镜","昌江区新视界眼镜行","临海市繁华眼镜厂","浙江省","古月红","R:+3.00DS  L:+3.00DS  OCD:（63±1）mm","合格品","2022年01月06号//","不合格","球镜顶焦度偏差（主子午面二）、光学中心水平距离偏差、光学中心单侧水平偏差","江西省检验检测认证总院工业产品检验检测院"]
[13,"老视成镜","瑞金市精益眼镜有限公司","温州市盟大光学眼镜有限公司","浙江省","/","R:+3.00DS L:+3.00DS OCD:63mm","合格品","2022.08.28/20220828","合格","/","江西省检验检测认证总院工业产品检验检测院"]
[14,"老视成镜","永丰县恩江镇亮点眼镜店","丹阳市星辉眼镜有限公司","江苏省","向阳红","R:+2.50DS L:+2.50DS OCD:63mm","合格品","2022.2.08/20220208","合格","/","江西省检验检测认证总院工业产品检验检测院"]
[15,"老视成镜","瑞金市象湖镇蒋氏眼镜店","镇江医倍健光学眼镜有限公司","江苏省","向阳红","R:+1.50DS L:+1.50DS OCD:61mm","合格品","2022.05.28/ZS20220528","合格","/","江西省检验检测认证总院工业产品检验检测院"]
[16,"老视成镜","鹰潭万成光学科技有限公司","鹰潭万成光学科技有限公司","江西省","夕阳红","R:+3.00DS  L:+3.00DS  OCD:62mm","合格品","2023-06-01/20230601","合格","/","江西省检验检测认证总院工业产品检验检测院"]
[17,"老视成镜","江西科路光学制造有限公司","江西科路光学制造有限公司","江西省","/","R:+2.00DS  L:+2.00DS  OCD:62mm","合格品","///","合格","/","江西省检验检测认证总院工业产品检验检测院"]
[18,"老视成镜","弋阳县配副眼镜店","临海市祥展眼镜有限公司","浙江省","贴心","R:+1.50DS  L: +1.50DS  OCD:64mm","合格品","2022-10-28/TX20221028","合格","/","江西省检验检测认证总院工业产品检验检测院"]
[19,"老视成镜","万年县视康眼镜行","温州佰达眼镜有限公司","浙江省","/","R: +2.00DS  L:  +2.00DS  OCD:（66±1）mm","合格品","2023-04-28/BD20230428","不合格","光学中心水平偏差、光学中心单侧水平偏差","江西省检验检测认证总院工业产品检验检测院"]
[20,"老视成镜","南昌县象湖亮点眼镜店","临海市永靓眼镜厂","浙江省","书宝","R:+1.00DS  L:+1.00DS OCD:63mm","合格品","2022-01-08/20220108","合格","/","江西省检验检测认证总院工业产品检验检测院"]