{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["全氮结果"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"全氮结果","index":0,"n_rows":97,"n_cols":4,"rows_kept":97,"merged":[[1,0,1,3]],"flags":["formulas_cached_only"]}
["附件4"]
["2023年度土壤全氮的测定能力验证结果"]
["序号","检验检测机构名称","土壤全氮","备注"]
[1,"桂林千卓环境检测技术服务有限公司","合格"]
[2,"广西民生中检联检测有限公司","合格"]
[3,"广西益谱检测技术有限公司","合格"]
[4,"有色桂林矿产地质测试中心","合格"]
[5,"广西泰检监测有限公司","合格"]
[6,"广西云科环境科技发展有限公司","合格"]
[7,"广西特立资源综合利用服务有限公司","合格"]
[8,"广西煤炭地质测试检验中心","合格"]
[9,"广西博测检测技术服务有限公司","合格"]
[10,"广西桂林锐德检测认证技术有限公司","合格"]
[11,"广西天龙环境监测有限责任公司","合格"]
[12,"广西高标检测有限公司","合格"]
[13,"广西西大检测有限公司","合格"]
[14,"玉林市检验检测研究院","合格"]
[15,"广西桂林金桂环境监测有限公司","合格"]
[16,"广西普祥检测科技有限公司","合格"]
[17,"广西惟胜工程技术咨询有限公司","合格"]
[18,"广西科瀚环境科技有限公司","合格"]
[19,"北海市祥泰建设工程质量检测有限公司","合格"]
[20,"品创计量检测有限公司","合格"]
[21,"桂林市排水工程管理处排水监测站","合格"]
[22,"广西安康检测科技有限公司","合格"]
[23,"广西西湾环境监测有限责任公司","合格"]
[24,"谱尼测试集团广西有限公司","合格"]
[25,"广西益土检测技术有限公司","合格"]
[26,"广西壮族自治区分析测试研究中心","合格"]
[27,"广西玖安检测服务有限公司","合格"]
[28,"广西旭森检测技术有限公司","合格"]
[29,"广西云检科技有限公司","合格"]
[30,"广西轩测环保科技有限公司","合格"]
[31,"广西荣辉环境科技有限公司","合格"]
[32,"广西华投检测技术有限公司","合格"]
[33,"广西壮族自治区自然资源生态修复中心","合格"]
[34,"广西北部湾环境科技有限公司","合格"]
[35,"广西浩正检测服务有限公司","合格"]
[36,"广西壮族自治区农业科学院农产品质量安全与检测技术研究所","合格"]
[37,"贵港市中赛环境监测有限公司","合格"]
[38,"广西壮族自治区产品质量检验研究院","合格"]
[39,"中国建筑材料工业地质勘查中心广西总队建材非金属矿测试中心","合格"]
[40,"恒晟水环境治理股份有限公司","合格"]
[41,"广西益全检测评价有限公司","合格"]
[42,"柳州紫荆技术转移中心有限公司柳州紫荆分析检测中心","合格"]
[43,"广西北部湾检测科技有限公司","合格"]
[44,"广西中兴检业科技开发有限公司","合格"]
[45,"中化（广西）地质勘查有限公司检测中心","合格"]
[46,"广西华测检测认证有限公司","合格"]
[47,"广西恒沁检测科技有限公司","合格"]
[48,"广西海拓工程检测咨询有限公司","合格"]
[49,"广电计量检测（南宁）有限公司","合格"]
[50,"广西南环检测科技有限公司","合格"]
[51,"广西德润环保科技有限公司","合格"]
[52,"广西蓝海洋检测有限公司","合格"]
[53,"广西祥明科技发展有限公司","合格"]
[54,"广西速竟科技有限公司","合格"]
[55,"广西南宁东升检测科技有限责任公司","合格"]
[56,"广西利华检测评价有限公司","合格"]
[57,"中国检验认证集团广西有限公司 （技术中心防城港办公点）","合格"]
[58,"广西优捷特检测有限公司","合格"]
[59,"广西安壹检测服务有限公司","合格"]
[60,"广西安盛建设工程检测咨询有限公司","合格"]
[61,"桂林市产品质量检验所","合格"]
[62,"广西壮族自治区药用植物园中药材检测实验室/广西壮族自治区中药材产品质量监督检验站","合格"]
[63,"广西可立环境监测有限公司","合格"]
[64,"广西壮族自治区化工产品质量检验和环保监测站","合格"]
[65,"广西中赛检测技术有限公司","合格"]
[66,"广西环投金溢环境科技有限公司","合格"]
[67,"广西壮族自治区林产品质量检验检测中心","合格"]
[68,"广西柳量检测技术有限公司","合格"]
[69,"广西中圳检测技术有限公司","合格"]
[70,"广西海沁天诚技术检测服务有限公司","合格"]
[71,"广西壮族自治区环境保护科学研究院","合格"]
[72,"广西壮族自治区建筑工程质量检测中心有限公司","合格"]
[73,"广西华强环境监测有限公司","合格"]
[74,"柳州市兴园水利水电工程质量检测有限公司","合格"]
[75,"广西新桂环保科技集团有限公司","合格"]
[76,"广西润测检测技术有限公司","合格"]
[77,"广西泽顺检测服务有限公司","合格"]
[78,"广西壮族自治区百色生态环境监测中心","不合格","整改已完成"]
[79,"广西宁大检测技术有限公司","不合格","整改已完成"]
[80,"广西三达环境监测有限公司","不合格","整改已完成"]
[81,"广西一鼎检业有限公司","不合格","整改已完成"]
[82,"广西能测环境检测有限公司","不合格","整改已完成"]
[83,"南宁海关技术中心","不合格","整改已完成"]
[84,"广西炜林工程检测有限责任公司","不合格","整改已完成"]
[85,"梧州市食品药品检验所","不合格","整改已完成"]
[86,"柳州市柳职院检验检测有限责任公司","不合格","整改已完成"]
[87,"力源宝生态大数据有限公司","不合格","整改已完成"]
[88,"广西保利环境监测有限公司","不合格","整改已完成"]
[89,"广西态兴环境检测技术服务有限公司","不合格","责令整改"]
[90,"梧州市产品质量检验所","不合格","经测量审核，土壤全氮评价结果为不满意"]
[91,"河池中赛检测技术有限公司","不合格","经测量审核，土壤全氮评价结果为不满意"]
[92,"广西华蓝岩土工程有限公司","不合格","经测量审核，土壤全氮评价结果为不满意"]
[93,"广西壮族自治区农业科学院农业资源与环境研究所","不合格","经测量审核，土壤全氮评价结果为不满意"]
[94,"广西国寰环保科技有限公司","不合格","注销资质"]